Town Manager's Report

OCTOBER 2010

Prepared by David Haller

Streets:

- Staff installed “Children At Play” signs on Huntley Circle.

- Staff repaired a number of street lights.

- Staff removed weeds from North and South Seton Avenue.

- Staff took up the “seasonal” speed bumps.

Water:

- Rainbow Lake is 14 inches below the spillway level (down 5” from last month).

- The roughing filters are being backwashed twice per day and the DE filters are being done once per week.

- The water levels in our wells are 3’ lower than May of this year (up 6’ from last month).

- Water production and consumption.  We produced and purchased an average of 319,703 GPD.  We consumed an average of 274,157 GPD. (down 21,964 GPD or 88 taps from May, ALSO DOWN 64,003 GPD OR 256 TAPS FROM LAST MONTH)

The difference is "Backwash Water" ... (14.2%). We purchased 315,100 gallons of

water from MSM this month.

  - 47.1% of this water came from wells.

  - 3.1% of this water came from Mt. St. Mary's.

  - 49.8% of this water came from Rainbow Lake.

Wastewater:

- The overland and flow treatment system is up and running for the season.

- The water and sewer systems superintendent has been assisting with the grease trap site inspections.

- We received about 2.4 inches of precipitation this month (the average is 3.5 inches).

  - We have a precipitation surplus of 1.4" over the last six months.  The average precipitation for the period from May 1 thru October 31 is 23.9".  We have received 25.3" for that period.

- Wastewater Treatment:

  - We treated an average of 412,000 GPD (consumed 274,157 GPD) which means that 33.5% of the wastewater treated this month was "wild water".

  - We exceeded the plant’s design capacity on two days during the month of October:

    - 10/01	1,522,000  GPD

    - 10/14	812,000  GPD

Trash:

- Trash pickup will remain Mondays for the remainder of month of November.

Parks:

- Staff has been mowing, trimming and performing general maintenance in the parks.

- Staff has winterized the swimming pool.

I Recently Attended the Following Meetings:

- 10/07	Meeting with Town’s insurance agent to review coverage limits

- 10/18	Mayor’s Staff Meeting

- 10/19	Meeting with the Town Clerk and the Town’s auditor

- 10/20	Clerk’s Staff Meeting

- 10/28	Frederick County Chapter of the MML Meeting