Town Manager's Report

SEPTEMBER 2010

Prepared by David Haller

Streets:

- Staff installed markers at the bridges on Creamery Road and the entrance to Northgate (per Frederick County bridge inspection).

- Staff repaired a number of street lights.

- Staff cleaned east and west Main Street.

- Staff patched a number of pot holes around town.

Water:

- Rainbow Lake is 9 inches below the spillway level.

- The roughing filters are being backwashed twice per day and the DE filters are being done once per week.

- The water levels in our wells remain nine feet lower than May of this year.

- Water production and consumption.  We produced and purchased an average of 360,897 gpd.  We consumed an average of 338,160 gpd. (up 42,039 GPD or 168 taps from May, ALSO UP 9,705 GPD OR 39 TAPS FROM LAST MONTH)

The difference is "Backwash Water" ... (6.3%). We purchased 315,100 gallons of

water from MSM this month.

  - 50.0% of this water came from wells.

  - 2.9% of this water came from Mt. St. Mary's.

  - 47.1% of this water came from Rainbow Lake.

Wastewater:

- The overland and flow treatment system is up and running for the season.

- The effluent flow meter at the waste water treatment plant was replaced this month.

- We received about 7.3 inches of precipitation this month (the average is 4.3 inches).

  - We have a precipitation surplus of 1.4" over the last six months.  The average precipitation for the period from April 1 thru September 30 is 24.2".  We have received 25.6" for that period.

- Wastewater Treatment:

  - We treated an average of 461,000 gpd (consumed 338,160 gpd) which means that 26.6% of the wastewater treated this month was "wild water".

  - We exceeded the plant’s design capacity on two days during the month of September:

    - 9/29	   807,000  GPD

    - 9/30	4,469,000  GPD

Trash:

- Trash pickup will remain Mondays for the remainder of month of October

Parks:

- Staff has been mowing, trimming and performing general maintenance in the parks.

- Staff painted some picnic tables in Memorial and Community Parks.

I Recently Attended the Following Meetings:

- 9/14	Met with USDA related to financing arrangement for upgrade/replacement

of waste water treatment plant

- 9/16	Attended BOCC/Municipal meeting

- 9/21	Clerk’s staff meeting

- 9/24	“HR” staff training meeting

- 9/29	On-site SWM/Sediment Control meeting with Frederick County and contractor

for Community Park Trails Project